# Solar shading system DUCO Ventilation & Sun Control DucoSun Wing 600

## Description

Permanent external shading system made of aluminium with movable blades. The DucoSun Wing is perforated and thus assures perfect harmony between solar shading and shadow. The large wing-shaped blade provides an urban design and, in addition to the standard perforation, is also available in other perforations on request.

The blades are mounted on site in the supporting structure (horizontally or vertically). The blades are continuously adjustable thanks to the linear electric drive motor.

## Version

### Blade

* Blade type Wing 600
* Shape of blade wing
* Blade height 600 mm
* Blade width 115 mm
* Perforation Ø 10 mm, other perforations on request
* Inclination angle 0° to 90°, continuously adjustable

### Mullion

* 60/100, fixing directly to the supporting structure

### Motor

* Power supply 230 VAC, 50 Hz
* Current 0.55 A
* Electric power 126 W
* IP class IP65
* Cable length 2 m from actuator

### Accessories

* Aluminum stop for mullion 60/100 available

## Material and surface treatment

### Blade

* Aluminium AlMg3

Profile thickness: min. 1 mm

* Finish
  + Natural anodised (15-20 μm) according to Qualanod
  + Polyester powder coated (60-80 μm) according to Qualicoat Seaside type A (specific RAL codes or textured paint on request)

### Mullion

* Aluminium EN AW-6063 T66 (EN 573-3)

Profile thickness: min. 3 mm

* Finish
  + Natural anodised (15-20 μm) according to Qualanod
  + Polyester powder coated (60-80 μm) according to Qualicoat Seaside type A (specific RAL codes or textured paint on request)

### Coverplate

* Aluminium AlMg3

Lasered, 5 mm thick

* Finish
  + Natural anodised (15-20 μm) according to Qualanod
  + Polyester powder coated (60-80 μm) according to Qualicoat Seaside type A (specific RAL codes or textured paint on request)

## Technical specifications

### Strength calculation

According to EN 1990, EN 1991, EN 1999